## Sheet1
Site | year | start_datetimeAK | end_datetimeAK | other_issues | NotebookStart Notes | NotebookEnd Notes | Karen notes
FRCH | 2015 | 2015-05-14 04:05 |  | negative Q until 5/18 | Install day on 5/14/2015. No times listed | Breakdown day on 9/21/2015. No times listed | Pressure data was below 100 (out of water) before 5/18
MOOS | 2015 | 2020-05-14 04:05 |  | negative Q until 5/20 | Install day on 5/14/2015. No times listed | Breakdown day on 9/21/2015. No times listed | Pressure data was below 100 (out of water) before 5/20
FRCH | 2018 | 2018-05-29 07:00 |  | half hour intervals | Install US @ 05/30/2018 15:03 Install DS @ 05/30/2018 ~15:10 | Removed PT 10/12/2018. No PT time listed. Grab @ 9:35 | Raw data in 30 min intervals
MOOS | 2018 | 2018-05-29 07:00 |  | half hour intervals | Install US @ 05/30/2018 10:55 Install DS @ 05/30/2018 10:00 | Removed PT 10/26/2018 11:30 | Raw data in 30 min intervals
POKE | 2019 |  | 2019-10-09 23:45 | check gear pull time | Install Stream 1 @ 05/10/2019 12:26 Install Stream 2 @ 5/14/2019 11:30 | No time listed, but last in book for poker is 10/17/2019. Ice listed as on channel.
STRT | 2019 |  | 2019-10-12 23:45 | check gear pull time | Install Stream 1 @ 5/21/2019 12:30 Install Stream 2 @ 5/21/2019 13:00 | 10/16/2019 10:30 for both? Ice listed as on channel.
FRCH | 2020 | 2020-06-11 05:30 | 2020-10-13 23:45 | check gear pull time | Install/deploy (both?) @ 6/11/2020 12:45 | 10/15/2020. PTs taken, no time listed. Grab at 12:00
MOOS | 2020 | 2020-06-15 09:30 | 2020-10-13 23:45 | check gear pull time | Install/deploy (both?) @ 6/15/2020 17:30 | 10/14/2020 Everything taken, no time listed. Grab at 16:15 Book says 10/14/20, written after FRCH 10/15/20 day. I am incliend to belive the date might have been written wrong.
POKE | 2020 | 2020-06-04 05:00 | 2020-10-08 23:45 | check gear pull time | First good sonde: 06/04/2020 14:30 | 10/14/2020 17:00. No note of PT, just all sensors at 17:00
STRT | 2020 | 2020-06-17 08:30 | 2020-10-07 23:45 | check gear pull time | Install Stream 1 @ 6/17/2020 16:30 Install Stream 2 @ 6/17/2020 16:30 | 10/13/2020 13:30 last good. No PT mentioned. Channel listed as frozen with some flow.
VAUL | 2020 | 2020-06-05 07:00 | 2020-10-04 23:45 | check gear pull time | First good sonde: 06/05/2020 16:00 | 10/14/2020 ~12:30 for both? No PT time listed. Ice listed as on channel and PT frozen.
FRCH | 2021 | 2021-06-30 03:00 | 2021-09-26 23:55 | check gear pull time | Site instal 5/4/21. No PT listed, PAR +RAIN start @17:00 | 9/28/2021 10:15 for both PTs. One PT listed as having no data.
MOOS | 2021 | 2021-05-04 09:00 | 2021-09-27 23:55 | check gear pull time | Site instal 5/4/21. No PT listed, PAR start @17:00. Ice on channel | 9/28/2021 13:00 for both PTs. |  | Water level data ends at 2021-09-28 02:30:00 before clipping
POKE | 2021 | 2021-05-06 01:00 |  |  | Install/deploy (both) @ 5/6/2021 17:00 | 9/29/2021 14:00 for both PTs.
STRT | 2021 | 2021-05-04 09:00 | 2021-09-30 06:35 | check gear pull time | Install/deploy LEFT PT @ 5/7/2021 17:00 | 9/30/2021 13:30 for both PTs.
VAUL | 2021 | 2021-05-10 09:00 | 2021-09-27 08:10 | check gear pull time | Install/deploy (both) @ 5/13/2021 @ 17:00 | Last good @ 9/27/2021 16:00. No PT mentioned, just all sensors.
FRCH | 2022 | 2022-05-12 00:30 |  | variable time intervals | 5/11/2022 13:30 first good PT | 10/10/2022 10:25 for both PTs
MOOS | 2022 | 2022-05-25 09:00 |  | variable time intervals | 5/10/2022 13:15 first good all sensors | 10/10/2022 Last good all sensors 12:25. No PT time listed
POKE | 2022 | 2022-05-18 01:00 |  | variable time intervals | 5/09/2022 13:15 first good all sensors | 10/07/2022 Last good all sensors 10:45. No PT time listed
STRT | 2022 | 2022-06-03 01:00 |  | variable time intervals | 6/2/2022 13:15 first good both PT | 10/08/2022 Last good all sensors 14:15. No PT time listed
VAUL | 2022 | 2022-05-26 00:30 |  | variable time intervals | Install Left PT @ 5/25/2022 11:15 Install Right PT @ 6/6/2022 10:40 | 10/11/2022 Last good all sensors 14:30. No PT time listed